## 6.20.2013-6.21.2013
| Station 1R |  |  |  | Station 2R |  |  |  | Station 3R |  |  |  | Lake Michigan Station 1 |  |  |  | Lake Michigan Station 2 |  |  |  | Lake Michigan Station 3 |  |  |  | Lake Michigan Station 4 |  |  |  | Lake Michigan Station 5 |  |  |  | Lake Michigan Station 6
| Date: 6/21/13 Time: 0830 |  |  |  | Date: 6/21/13 Time: 0920 |  |  |  | Date: 6/21/13 Time: 1003 |  |  |  | Date: 6/20/13 Time: 1523 |  |  |  | Date: 6/20/13 Time: 1546 |  |  |  | Date: 6/20/13 Time: 1601 |  |  |  | Date: 6/20/13 Time: 1612 |  |  |  | Date: 6/20/13 Time: 1632 |  |  |  | Date: 6/20/13 Time: 1646
| Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU)
| 0 | 11.34 | 11.64 | ---- | 0 | 11.67 | 11.59 | ---- | 0 | 11.67 | 11.62 | ---- | 0 | 11.51 | 14.16 | ---- | 0 | 11.45 | 15.01 | ---- | 0 | 11.98 | 11.36 | ---- | 0 | 11.64 | 13.97 | ---- | 0 | 11.7 | 11.08 | ---- | 0 | 10.3 | 14.56 | ----
| 1 | 11.62 | 11.26 | 0.23 | 1 | 11.59 | 11.6 | 0.34 | 1 | 11.59 | 11.63 | 0.17 | 1 | 11.52 | 12.69 | 0.31 | 1 | 11.76 | 12.46 | 0.1 | 1 | 11.93 | 11.27 | 0.28 | 1 | 11.69 | 12.84 | 0.19 | 1 | 11.78 | 10.99 | 0.18 | 1 | 11.35 | 11.86 | 0.25
| 2 | 11.61 | 11.35 | ---- | 2 | 11.36 | 11.6 | ---- | 2 | 11.52 | 11.64 | ---- | 2 | 11.62 | 11.92 | ---- | 2 | 11.71 | 11.96 | ---- | 2 | 11.88 | 11.25 | ---- | 2 | 11.82 | 12.05 | ---- | 2 | 11.88 | 10.35 | ---- | 2 | 11.46 | 11.76 | ----
| 3 | 11.33 | 11.58 | ---- | 3 | 11.34 | 11.61 | ---- | 3 | 11.45 | 11.65 | ---- | 3 | 11.58 | 11.54 | ---- | 3 | 12.19 | 11.16 | ---- | 3 | 11.84 | 11.25 | ---- | 3 | 11.82 | 11.65 | ---- | 3 | 11.84 | 10.23 | ---- | 3 | 11.47 | 11.63 | ----
| 4 | 11.32 | 11.56 | ---- | 4 | 11.32 | 11.59 | ---- | 4 | 11.42 | 11.57 | ---- | 4 | 11.67 | 11.19 | ---- | 4 | 12.45 | 10.86 | 0.22 | 4 | 11.85 | 11.24 | ---- | 4 | 11.85 | 11.32 | ---- | 4 | 11.78 | 10.29 | ---- | 4 | 11.73 | 10.46 | ----
| 5 | 11.34 | 11.56 | ---- | 5 | 11.28 | 11.56 | ---- | 5 | 11.43 | 11.56 | ---- | 5 | 11.9 | 10.71 | ---- | 4.9 | 12.51 | 10.85 | ---- | 5 | 11.87 | 11.22 | ---- | 5 | 11.8 | 11.24 | ---- | 5 | 11.96 | 10.18 | ---- | 5 | 11.82 | 10.43 | 0.18
| 6 | 11.34 | 11.55 | ---- | 6 | 11.26 | 11.56 | ---- | 6 | 11.4 | 11.55 | ---- | 6 | 11.87 | 10.54 | ---- |  |  |  |  | 6 | 11.83 | 11.22 | ---- | 6 | 11.81 | 11.06 | ---- | 6 | 11.95 | 10.14 | ---- | 5.2 | 11.81 | 10.43 | ----
| 7 | 11.29 | 11.55 | ---- | 7 | 11.26 | 11.54 | ---- | 7 | 11.38 | 11.54 | ---- | 7 | 11.99 | 9.6 | ---- |  |  |  |  | 7 | 11.84 | 11.21 | ---- | 7 | 11.9 | 10.76 | ---- | 7 | 11.92 | 10.08 | ----
| 8 | 11.24 | 11.53 | ---- | 8 | 11.26 | 11.53 | ---- | 8 | 11.37 | 11.55 | ---- | 8 | 12.48 | 7.64 | ---- |  |  |  |  | 8 | 11.85 | 11.22 | ---- | 8 | 11.95 | 10.4 | ---- | 8 | 12.02 | 10.07 | ----
| 9 | 11.26 | 11.53 | ---- | 9 | 11.26 | 11.5 | ---- | 9 | 11.36 | 11.55 | ---- | 9 | 12.52 | 7.28 | ---- |  |  |  |  | 9 | 11.84 | 11.21 | ---- | 9 | 12.08 | 9.91 | ---- | 9 | 11.94 | 10.07 | ----
| 10 | 11.32 | 11.53 | ---- | 10 | 11.24 | 11.49 | ---- | 10 | 11.3 | 11.56 | ---- | 10 | 12.64 | 7.02 | ---- |  |  |  |  | 10 | 11.83 | 11.19 | 0.41 | 10 | 12.37 | 8.19 | ---- | 10 | 12.07 | 9.83 | 0.13
| 11 | 11.3 | 11.51 | ---- | 11 | 11.3 | 11.5 | ---- | 11 | 11.34 | 11.55 | ---- | 11 | 12.5 | 6.87 | 0.17 |  |  |  |  | 10.5 | 11.78 | 11.19 | ---- | 11 | 12.67 | 7.01 | ---- | 10.5 | 12.14 | 9.69 | ----
| 12 | 11.26 | 11.51 | ---- | 12 | 11.25 | 11.5 | ---- | 12 | 11.31 | 11.52 | ---- | 12 | 12.62 | 6.58 | ---- | [8 empty] | 12 | 12.56 | 6.19 | ----
| 13 | 11.25 | 11.51 | ---- | 13 | 11.28 | 11.49 | ---- | 13 | 11.3 | 11.53 | ---- | [12 empty] | 13 | 12.64 | 5.93 | ----
| 14 | 11.31 | 11.46 | ---- | 14 | 11.3 | 11.5 | ---- | 14 | 11.31 | 11.53 | ---- | [12 empty] | 14 | 12.71 | 5.8 | ----
| 15 | 11.31 | 11.45 | ---- | 15 | 11.27 | 11.47 | ---- | 15 | 11.32 | 11.52 | ---- | [12 empty] | 15 | 12.6 | 5.75 | ----
| 16 | 11.24 | 11.44 | ---- | 16 | 11.26 | 11.47 | ---- | 16 | 11.32 | 11.52 | ---- | [12 empty] | 16 | 12.66 | 5.71 | ----
| 17 | 11.3 | 11.45 | ---- | 17 | 11.28 | 11.47 | ---- | 17 | 11.34 | 11.51 | ---- | [12 empty] | 17 | 12.79 | 5.71 | 0.09
| 18 | 11.29 | 11.44 | ---- | 18 | 11.31 | 11.46 | ---- | 18 | 11.27 | 11.49 | ---- | [12 empty] | 17.5 | 12.78 | 5.72 | ----
| 19 | 11.28 | 11.42 | ---- | 19 | 11.29 | 11.45 | ---- | 19 | 11.28 | 11.49 | ----
| 20 | 11.26 | 11.39 | ---- | 20 | 11.27 | 11.44 | ---- | 20 | 11.3 | 11.48 | ----
| 21 | 11.3 | 11.35 | ---- | 21 | 11.25 | 11.43 | ---- | 21 | 11.27 | 11.49 | ----
| 22 | 11.29 | 11.33 | ---- | 22 | 11.28 | 11.32 | ---- | 22 | 11.28 | 11.49 | ----
| 23 | 11.28 | 11.22 | ---- | 23 | 11.26 | 11.27 | ---- | 23 | 11.26 | 11.49 | ----
| 24 | 11.37 | 11.15 | ---- | 24 | 11.26 | 11.18 | ---- | 24 | 11.27 | 11.49 | ----
| 25 | 11.36 | 11.06 | ---- | 25 | 11.31 | 11.14 | ---- | 25 | 11.25 | 11.49 | ----
| 26 | 11.27 | 11.02 | ---- | 26 | 11.31 | 11.09 | 0.09 | 26 | 11.28 | 11.49 | ----
| 27 | 11.35 | 11.02 | 0.43 | 27 | 11.29 | 11.01 | ---- | 27 | 11.27 | 11.49 | ----
| 28 | 11.35 | 11.01 | ---- |  |  |  |  | 28 | 11.26 | 11.49 | ----
[9 empty] | 29 | 11.23 | 11.49 | ----
[9 empty] | 30 | 11.26 | 11.49 | ----
[9 empty] | 31 | 11.25 | 11.49 | 0.19
[9 empty] | 32 | 11.23 | 11.5 | ----
Average |  | 11.3234 | 11.3924 | 0.33 |  | 11.3075 | 11.4414 | 0.215 |  | 11.3361 | 11.5288 | 0.18 |  | 12.0323 | 9.8262 | 0.24 |  | 12.0117 | 12.05 | 0.16 |  | 11.86 | 11.2358 | 0.345 |  | 12.2179 | 9.0111 | 0.14 |  | 11.915 | 10.25 | 0.155 |  | 11.42 | 11.59 | 0.215

## 7.1.2013
| Station 1R |  |  |  | Station 2R |  |  |  | Station 3R |  |  |  | Lake Michigan Station 1 |  |  |  | Lake Michigan Station 2 |  |  |  | Lake Michigan Station 3 |  |  |  | Lake Michigan Station 4 |  |  |  | Lake Michigan Station 5 |  |  |  | Lake Michigan Station 6
| Date: 7/1/13 Time: 1800 |  |  |  | Date: 7/1/13 Time: 1730 |  |  |  | Date: 7/1/13 Time: 1645 |  |  |  | Date: 7/1/13 Time: NM |  |  |  | Date: 7/1/13 Time: NM |  |  |  | Date: 7/1/13 Time: 1200 |  |  |  | Date: 7/1/13 Time: 1100 |  |  |  | Date: 7/1/13 Time: 1000 |  |  |  | Date: 7/1/13 Time: 1031
| Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU)
| 0 | 9.9 | 16.4 | ---- | 0 | 9.9 | 16 | ---- | 0 | 10.3 | 15.6 | ---- | 0 | 11.4 | 9.56 | ---- | 0 | 11 | 7.9 | ---- | 0 | 11.6 | 9.1 | ---- | 0 | 11.1 | 12.1 | ---- | 0 | 11.3 | 10.7 | ---- | 0 | 11.9 | 8.5 | ----
| 1 | 9.9 | 16.3 | 0.56 | 1 | 9.9 | 16 | 0.46 | 1 | 10.3 | 15.5 | 0.29 | 1 | 11.4 | 9.5 | 0.21 | 1 | 11 | 7.9 | 0.2 | 1 | 11.6 | 8.9 | 0.11 | 1 | 11.1 | 12.1 | 0.27 | 1 | 11.1 | 10.7 | 0.32 | 1 | 11.9 | 8.4 | 0.2
| 2 | 9.8 | 16.2 | ---- | 2 | 9.8 | 16 | ---- | 2 | 10.1 | 15.4 | ---- | 2 | 11.5 | 9.2 | ---- | 2 | 11.1 | 7.4 | ---- | 2 | 11.5 | 8.7 | ---- | 2 | 11.1 | 12 | ---- | 2 | 11.1 | 10.6 | ---- | 2 | 11.8 | 7.6 | ----
| 3 | 9.8 | 16.1 | ---- | 3 | 9.8 | 15.7 | ---- | 3 | 10.2 | 15.1 | ---- | 3 | 11.5 | 8.8 | ---- | 3 | 11.2 | 6.4 | ---- | 3 | 11.5 | 8.3 | ---- | 3 | 11.1 | 11.5 | ---- | 3 | 11.1 | 10.5 | ---- | 3 | 11.9 | 7 | ----
| 4 | 9.8 | 15.7 | ---- | 4 | 10 | 14.8 | ---- | 4 | 10.2 | 14.3 | ---- | 4 | 11.5 | 8.6 | ---- | 4 | 11.4 | 6.3 | ---- | 4 | 11.5 | 7.8 | ---- | 4 | 11.2 | 11.3 | ---- | 4 | 11.2 | 9.3 | ---- | 4 | 11.9 | 6.8 | ----
| 5 | 9.8 | 15.6 | ---- | 5 | 10 | 14.7 | ---- | 5 | 10 | 14.2 | ---- | 5 | 11.5 | 8.5 | ---- | 5 | 11.4 | 6.2 | 0.2 | 5 | 11.5 | 7.7 | ---- | 5 | 11.2 | 11.2 | ---- | 5 | 11.3 | 8.6 | ---- | 5 | 11.9 | 6.8 | 0.17
| 6 | 9.8 | 15.4 | ---- | 6 | 9.9 | 14.5 | ---- | 6 | 10 | 14.1 | ---- | 6 | 11.6 | 7.8 | ---- | 6 | 11.4 | 6.3 | ---- | 6 | 11.5 | 7.6 | ---- | 6 | 11.2 | 11.1 | ---- | 6 | 11.3 | 8.1 | ---- | 6 | 11.8 | 6.8 | ----
| 7 | 10 | 14.4 | ---- | 7 | 10 | 14.3 | ---- | 7 | 10 | 13.8 | ---- | 7 | 11.5 | 7.5 | ---- |  |  |  |  | 7 | 11.5 | 6.6 | ---- | 7 | 11.2 | 10.8 | ---- | 7 | 11.4 | 8 | ----
| 8 | 10.2 | 14 | ---- | 8 | 10 | 14.3 | ---- | 8 | 10 | 13.8 | ---- | 8 | 11.5 | 7.2 | ---- |  |  |  |  | 8 | 11.6 | 6.6 | ---- | 8 | 11.2 | 10.7 | ---- | 8 | 11.3 | 7.8 | ----
| 9 | 10.2 | 13.8 | ---- | 9 | 10 | 14.1 | ---- | 9 | 10 | 13.8 | ---- | 9 | 11.4 | 6.2 | ---- |  |  |  |  | 9 | 11.6 | 5.9 | ---- | 9 | 11.3 | 10.5 | ---- | 9 | 11.4 | 7.7 | ----
| 10 | 10.2 | 13.5 | ---- | 10 | 10 | 14 | ---- | 10 | 10 | 13.6 | ---- | 10 | 11.4 | 6 | ---- |  |  |  |  | 10 | 11.6 | 5.8 | 0.3 | 10 | 11.3 | 10.4 | ---- | 10 | 11.4 | 7.6 | ----
| 11 | 10.1 | 13.5 | ---- | 11 | 10 | 13.9 | ---- | 11 | 10 | 13.5 | ---- | 11 | 11.3 | 6 | ---- |  |  |  |  | 11 | 11.6 | 5.8 | ---- | 11 | 11.3 | 10.3 | ---- | 11 | 11.4 | 7.4 | 0.26
| 12 | 10.1 | 13.3 | ---- | 12 | 10 | 13.8 | ---- | 12 | 10.1 | 13.4 | ---- | 12 | 11.3 | 6 | ---- | [8 empty] | 12 | 11.3 | 9.7 | ---- | 11.5 | 11.5 | 7.3 | ----
| 13 | 10.1 | 13.2 | ---- | 13 | 10 | 13.6 | ---- | 13 | 10 | 13.4 | ---- | 13 | 11.3 | 6 | 0.09 | [8 empty] | 13 | 11.4 | 9 | ----
| 14 | 10.1 | 13.2 | ---- | 14 | 10 | 13.4 | ---- | 14 | 10 | 13.4 | ---- | 14 | 11.3 | 6 | ---- | [8 empty] | 14 | 11.5 | 6 | ----
| 15 | 10 | 13.1 | ---- | 15 | 10 | 13.3 | ---- | 15 | 10 | 13.4 | ---- | [12 empty] | 15 | 11.5 | 5.5 | ----
| 16 | 10 | 13 | ---- | 16 | 10 | 13.3 | ---- | 16 | 9.9 | 13.4 | ---- | [12 empty] | 16 | 11.4 | 5.3 | ----
| 17 | 10 | 13 | ---- | 17 | 10 | 13.2 | ---- | 17 | 9.9 | 13.1 | ---- | [12 empty] | 17 | 11.3 | 5.3 | ----
| 18 | 10 | 12.9 | ---- | 18 | 10 | 13 | ---- | 18 | 10 | 13 | ---- | [12 empty] | 18 | 11.3 | 5.2 | 0.33
| 19 | 10 | 12.9 | ---- | 19 | 9.9 | 13 | ---- | 19 | 9.9 | 13 | ---- | [12 empty] | 19 | 11.3 | 5.2 | ----
| 20 | 9.9 | 12.9 | 0.42 | 20 | 10 | 13 | 0.36 | 20 | 9.9 | 13 | ----
| 21 | 9.9 | 12.8 | ---- | 21 | 9.8 | 13 | ---- | 21 | 9.9 | 12.9 | ----
[9 empty] | 22 | 9.9 | 12.9 | ----
[9 empty] | 23 | 9.8 | 12.9 | ----
[9 empty] | 24 | 9.9 | 12.9 | ----
[9 empty] | 25 | 9.8 | 12.9 | ----
[9 empty] | 26 | 9.8 | 12.9 | 0.19
[9 empty] | 27 | 9.7 | 12.8 | ----
Average |  | 9.9818 | 14.1455 | 0.49 |  | 9.9545 | 14.1318 | 0.41 |  | 9.9857 | 13.6429 | 0.24 |  | 11.4267 | 7.524 | 0.15 |  | 11.2143 | 6.9143 | 0.2 |  | 11.55 | 7.4 | 0.205 |  | 11.265 | 9.26 | 0.3 |  | 11.2923 | 8.7923 | 0.29 |  | 11.8714 | 7.4143 | 0.185

## 7.15.2013
| Station 1R |  |  |  | Station 2R |  |  |  | Station 3R |  |  |  | Lake Michigan Station 1 |  |  |  | Lake Michigan Station 2 |  |  |  | Lake Michigan Station 3 |  |  |  | Lake Michigan Station 4 |  |  |  | Lake Michigan Station 5 |  |  |  | Lake Michigan Station 6
| Date: 7/15/13 Time: 1730 |  |  |  | Date: 7/15/13 Time: 1815 |  |  |  | Date: 7/15/13 Time: 1845 |  |  |  | Date: 7/15/13 Time: 1415 |  |  |  | Date: 7/15/13 Time: 1400 |  |  |  | Date: 7/15/13 Time: 1330 |  |  |  | Date: 7/15/13 Time: 1230 |  |  |  | Date: 7/15/13 Time: NM |  |  |  | Date: 7/15/13 Time: 1215
| Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU)
| 0 | 10.13 | 19.45 | ---- | 0 | 10.19 | 19.56 | ---- | 0 | 10.48 | 18.3 | ---- | 0 | 9.43 | 21.96 | ---- | 0 | 9.73 | 21.21 | ---- | 0 | 9.99 | 20.76 | ---- | 0 | 9.77 | 22.22 | ---- | 0 | 9.62 | 22.08 | ---- | 0 | 9.96 | 21.37 | ----
| 1 | 10.14 | 19.44 | 0.14 | 1 | 10.18 | 19.47 | 0.57 | 1 | 10.48 | 18.26 | 0.4 | 1 | 9.43 | 21.64 | 0.26 | 1 | 9.5 | 21.22 | 0.11 | 1 | 9.93 | 20.67 | 0.21 | 1 | 9.6 | 21.35 | 0.35 | 1 | 9.95 | 19.5 | 0.36 | 1 | 9.96 | 20.79 | 0.41
| 2 | 10.11 | 19.24 | ---- | 2 | 10.29 | 18.39 | ---- | 2 | 10.46 | 18.15 | ---- | 2 | 9.45 | 21.1 | ---- | 2 | 9.67 | 20.2 | ---- | 2 | 10.02 | 19.62 | ---- | 2 | 9.73 | 20.61 | ---- | 2 | 10.2 | 18.93 | ---- | 2 | 10.1 | 19.49 | ----
| 3 | 10.18 | 18.91 | ---- | 3 | 10.35 | 17.92 | ---- | 3 | 10.49 | 17.68 | ---- | 3 | 9.47 | 20.73 | ---- | 3 | 9.85 | 19.66 | ---- | 3 | 10.12 | 19.11 | ---- | 3 | 9.69 | 20.54 | ---- | 3 | 10.18 | 18.63 | ---- | 3 | 10.14 | 19.32 | ----
| 4 | 10.26 | 17.94 | ---- | 4 | 10.35 | 17.82 | ---- | 4 | 10.47 | 17.41 | ---- | 4 | 9.49 | 20.3 | ---- | 4 | 9.96 | 19.63 | ---- | 4 | 10.16 | 18.68 | ---- | 4 | 9.67 | 20.45 | ---- | 4 | 10.26 | 18.07 | ---- | 4 | 10.1 | 19.03 | ----
| 5 | 10.25 | 17.61 | ---- | 5 | 10.45 | 17.55 | ---- | 5 | 10.43 | 17.36 | ---- | 5 | 9.83 | 19.12 | ---- | 5 | 9.92 | 19.6 | ---- | 5 | 10.3 | 18.38 | ---- | 5 | 9.7 | 20.42 | ---- | 5 | 10.35 | 17.66 | ---- | 5 | 10.18 | 18.54 | ----
| 6 | 10.22 | 17.48 | ---- | 6 | 10.37 | 17.47 | ---- | 6 | 10.39 | 17.33 | ---- | 6 | 10.39 | 17.56 | ---- | 6 | 10.09 | 19.41 | 0.24 | 6 | 10.24 | 18.31 | ---- | 6 | 9.98 | 19.55 | ---- | 6 | 10.5 | 16.75 | ---- | 6 | 10.52 | 17.23 | 0.29
| 7 | 10.22 | 17.42 | ---- | 7 | 10.41 | 17.43 | ---- | 7 | 10.38 | 17.32 | ---- | 7 | 11.73 | 14.58 | ---- | 6.5 | 10.66 | 18.92 | ---- | 7 | 10.47 | 16.19 | ---- | 7 | 10.1 | 18.34 | ---- | 7 | 10.62 | 15.15 | ---- | 6.5 | 10.67 | 16.97 | ----
| 8 | 10.12 | 17.39 | ---- | 8 | 10.29 | 17.41 | ---- | 8 | 10.16 | 17.27 | ---- | 8 | 12.23 | 13.01 | ---- |  |  |  |  | 8 | 10.99 | 14.34 | ---- | 8 | 10.88 | 16.41 | ---- | 8 | 11.47 | 10.53 | ----
| 9 | 10.23 | 17.36 | ---- | 9 | 10.26 | 17.4 | ---- | 9 | 10.27 | 17.26 | ---- | 9 | 12.22 | 12.3 | ---- |  |  |  |  | 9 | 11.81 | 13.29 | ---- | 9 | 11.13 | 14.49 | ---- | 9 | 12.35 | 10.13 | ----
| 10 | 10.22 | 17.32 | ---- | 10 | 10.27 | 17.39 | ---- | 10 | 10.3 | 17.23 | ---- | 10 | 12.51 | 11.34 | ---- |  |  |  |  | 10 | 11.84 | 12.53 | 0.61 | 10 | 12.51 | 10.84 | ---- | 10 | 12.41 | 9.81 | 0.21
| 11 | 10.13 | 17.3 | ---- | 11 | 10.22 | 17.37 | ---- | 11 | 10.15 | 17.22 | ---- | 11 | 12.55 | 11.01 | ---- |  |  |  |  | 11 | 11.99 | 11 | ---- | 11 | 12.77 | 9.95 | ---- | 11 | 12.48 | 9.8 | ----
| 12 | 10.13 | 17.29 | ---- | 12 | 10.18 | 17.33 | ---- | 12 | 10.21 | 17.21 | ---- | 12 | 12.6 | 9.9 | 0.38 | [8 empty] | 12 | 12.64 | 9.49 | ----
| 13 | 10.1 | 17.29 | ---- | 13 | 10.25 | 17.3 | ---- | 13 | 10.1 | 17.22 | ---- | 13 | 12.46 | 9.7 | ---- | [8 empty] | 13 | 12.42 | 9.36 | ----
| 14 | 10.04 | 17.28 | ---- | 14 | 10.22 | 17.28 | ---- | 14 | 10.24 | 17.21 | ---- | [12 empty] | 14 | 12.32 | 9.16 | ----
| 15 | 10.09 | 17.27 | ---- | 15 | 10.22 | 17.27 | ---- | 15 | 10.24 | 17.2 | ---- | [12 empty] | 15 | 12.48 | 8.87 | ----
| 16 | 10.13 | 17.26 | ---- | 16 | 10.17 | 17.25 | 0.27 | 16 | 10.25 | 17.19 | ---- | [12 empty] | 16 | 12.21 | 8.44 | ----
| 17 | 10.12 | 17.25 | ---- | 17 | 10.12 | 17.24 | ---- | 17 | 10.23 | 17.19 | ---- | [12 empty] | 17 | 11.8 | 8.23 | ----
| 18 | 10.17 | 17.25 | ---- |  |  |  |  | 18 | 10.09 | 17.17 | ---- | [12 empty] | 18 | 11.76 | 8.19 | ----
| 19 | 10.16 | 17.24 | 0.13 |  |  |  |  | 19 | 10.18 | 17.15 | ---- | [12 empty] | 19 | 11.8 | 8.12 | 0.35
| 20 | 10.12 | 17.24 | ---- |  |  |  |  | 20 | 10.1 | 17.15 | 0.26 | [12 empty] | 19.5 | 11.73 | 8.1 | ----
[9 empty] | 21 | 10.11 | 17.14 | ----
Average |  | 10.1557 | 17.7252 | 0.135 |  | 10.2661 | 17.7139 | 0.42 |  | 10.2823 | 17.3918 | 0.33 |  | 10.985 | 16.0179 | 0.32 |  | 9.9225 | 19.9812 | 0.175 |  | 10.655 | 16.9067 | 0.41 |  | 11.1757 | 13.9586 | 0.35 |  | 10.8658 | 15.5867 | 0.285 |  | 10.2038 | 19.0925 | 0.35

## 7.30.2013
| Station 1R |  |  |  | Station 2R |  |  |  | Station 3R |  |  |  | Lake Michigan Station 1 |  |  |  | Lake Michigan Station 2 |  |  |  | Lake Michigan Station 3 |  |  |  | Lake Michigan Station 4 |  |  |  | Lake Michigan Station 5 |  |  |  | Lake Michigan Station 6
| Date: 7/30/13 Time: 1630 |  |  |  | Date: 7/30/13 Time: 1600 |  |  |  | Date: 7/30/13 Time: 1530 |  |  |  | Date: 7/30/13 Time: 1340 |  |  |  | Date: 7/30/13 Time: 1315 |  |  |  | Date: 7/30/13 Time: 1300 |  |  |  | Date: 7/30/13 Time: 1215 |  |  |  | Date: 7/30/13 Time: 1130 |  |  |  | Date: 7/30/13 Time: 1145
| Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU)
| 0 | 8.7 | 16.47 | ---- | 0 | 8.6 | 16.6 | ---- | 0 | 9.02 | 15.78 | ---- | 0 | 9.17 | 16.11 | ---- | 0 | 9.27 | 15.36 | ---- | 0 | 9.05 | 15.98 | ---- | 0 | 9.36 | 15.86 | ---- | 0 | 9.34 | 15.03 | ---- | 0 | 9.42 | 15.17 | ----
| 1 | 8.71 | 16.36 | 0.28 | 1 | 8.62 | 16.48 | 0.35 | 1 | 9.04 | 15.73 | 0.41 | 1 | 9.14 | 16.15 | 0.25 | 1 | 9.23 | 15.29 | 0.69 | 1 | 9.12 | 15.71 | 0.18 | 1 | 9.22 | 15.84 | 0.31 | 1 | 9.31 | 15.07 | 0.28 | 1 | 9.18 | 15.11 | 0.24
| 2 | 8.72 | 15.88 | ---- | 2 | 8.64 | 16.03 | ---- | 2 | 9.07 | 15.56 | ---- | 2 | 9.1 | 16 | ---- | 2 | 9.22 | 14.94 | ---- | 2 | 9.09 | 15.62 | ---- | 2 | 9.14 | 15.83 | ---- | 2 | 9.21 | 14.81 | ---- | 2 | 9.08 | 15.02 | ----
| 3 | 8.8 | 15.5 | ---- | 3 | 8.4 | 15.81 | ---- | 3 | 9.03 | 15.47 | ---- | 3 | 9.09 | 15.64 | ---- | 3 | 9.27 | 14.43 | ---- | 3 | 9.18 | 14.9 | ---- | 3 | 9.09 | 15.69 | ---- | 3 | 9.37 | 14.03 | ---- | 3 | 9.14 | 14.13 | ----
| 4 | 8.77 | 15.4 | ---- | 4 | 8.54 | 15.6 | ---- | 4 | 9.08 | 15.39 | ---- | 4 | 9.09 | 15.57 | ---- | 4 | 9.33 | 14.43 | ---- | 4 | 9.23 | 14.81 | ---- | 4 | 9.14 | 15.45 | ---- | 4 | 9.9 | 12.31 | ---- | 4 | 10.26 | 11.52 | ----
| 5 | 8.72 | 15.39 | ---- | 5 | 8.65 | 15.51 | ---- | 5 | 9.04 | 15.4 | ---- | 5 | 9.14 | 15.07 | ---- | 5 | 9.31 | 14.42 | 0.75 | 5 | 9.18 | 14.49 | ---- | 5 | 9.23 | 15 | ---- | 5 | 10.44 | 10.77 | ---- | 5 | 10.76 | 9.64 | 0.35
| 6 | 8.8 | 15.3 | ---- | 6 | 8.66 | 15.46 | ---- | 6 | 9.03 | 15.36 | ---- | 6 | 9.18 | 14.8 | ---- | 6 | 9.54 | 14.21 | ---- | 6 | 9.21 | 14.4 | ---- | 6 | 9.28 | 14.52 | ---- | 6 | 11 | 8.53 | ---- | 6 | 10.97 | 9.47 | ----
| 7 | 8.81 | 15.21 | ---- | 7 | 8.67 | 15.39 | ---- | 7 | 9 | 15.34 | ---- | 7 | 9.27 | 14.55 | ---- |  |  |  |  | 7 | 9.25 | 14.05 | ---- | 7 | 9.39 | 13.85 | ---- | 7 | 10.99 | 7.58 | ----
| 8 | 8.7 | 15.18 | ---- | 8 | 8.69 | 15.34 | ---- | 8 | 8.97 | 15.3 | ---- | 8 | 9.34 | 14.08 | ---- |  |  |  |  | 8 | 9.31 | 13.93 | ---- | 8 | 9.51 | 13.3 | ---- | 8 | 10.94 | 7.34 | ----
| 9 | 8.66 | 15.13 | ---- | 9 | 8.69 | 15.31 | ---- | 9 | 8.87 | 15.29 | ---- | 9 | 9.42 | 13.9 | ---- |  |  |  |  | 9 | 9.34 | 13.77 | ---- | 9 | 9.57 | 13.1 | ---- | 9 | 11.03 | 7.28 | ----
| 10 | 8.71 | 15.01 | ---- | 10 | 8.71 | 15.28 | ---- | 10 | 8.89 | 15.25 | ---- | 10 | 9.53 | 13.52 | ---- |  |  |  |  | 10 | 9.8 | 12.99 | 0.61 | 10 | 9.75 | 12.08 | ---- | 10 | 10.94 | 7.21 | 0.21
| 11 | 8.71 | 14.95 | ---- | 11 | 8.75 | 15.18 | ---- | 11 | 8.88 | 15.21 | ---- | 11 | 9.99 | 12.61 | ---- |  |  |  |  | 11 | 10.8 | 8.36 | ---- | 11 | 10.32 | 9.91 | ---- | 11 | 10.88 | 7.2 | ----
| 12 | 8.7 | 14.92 | ---- | 12 | 8.63 | 15.03 | ---- | 12 | 8.96 | 15.18 | ---- | 12 | 9.99 | 11.72 | 0.31 | [8 empty] | 12 | 10.86 | 6.9 | ----
| 13 | 8.7 | 14.91 | ---- | 13 | 8.71 | 14.95 | ---- | 13 | 8.92 | 15.1 | ---- | 13 | 10.61 | 8.74 | ---- | [8 empty] | 13 | 11.01 | 6.58 | ----
| 14 | 8.7 | 14.9 | ---- | 14 | 8.72 | 14.89 | ---- | 14 | 8.93 | 15.09 | ---- | [12 empty] | 14 | 10.96 | 6.43 | ----
| 15 | 8.69 | 14.89 | ---- | 15 | 8.67 | 14.88 | ---- | 15 | 8.91 | 15.05 | ---- | [12 empty] | 15 | 10.88 | 6.32 | ----
| 16 | 8.63 | 14.85 | ---- | 16 | 8.63 | 14.88 | ---- | 16 | 8.89 | 15.03 | ---- | [12 empty] | 16 | 10.87 | 6.36 | ----
| 17 | 8.61 | 14.82 | ---- | 17 | 8.5 | 14.87 | ---- | 17 | 8.91 | 15.05 | ---- | [12 empty] | 17 | 10.86 | 6.35 | ----
| 18 | 8.66 | 14.78 | ---- | 18 | 8.59 | 14.87 | ---- | 18 | 8.91 | 15.02 | ---- | [12 empty] | 18 | 10.82 | 6.28 | ----
| 19 | 8.66 | 14.77 | ---- | 19 | 8.62 | 14.86 | ---- | 19 | 8.9 | 15 | ---- | [12 empty] | 19 | 10.84 | 6.3 | 0.19
| 20 | 8.67 | 14.78 | 0.26 | 20 | 8.6 | 14.85 | 0.46 | 20 | 8.91 | 14.97 | ---- | [12 empty] | 20 | 10.82 | 6.32 | ----
| 21 | 8.69 | 14.78 | ---- | 21 | 8.59 | 14.82 | ---- | 21 | 8.9 | 14.9 | ----
[9 empty] | 22 | 8.89 | 14.85 | ----
[9 empty] | 23 | 8.89 | 14.73 | ----
[9 empty] | 24 | 8.87 | 14.67 | ----
[9 empty] | 25 | 8.8 | 14.65 | ----
[9 empty] | 26 | 8.86 | 14.65 | 0.38
[9 empty] | 27 | 8.8 | 14.59 | ----
Average |  | 8.7055 | 15.19 | 0.27 |  | 8.6309 | 15.3132 | 0.405 |  | 8.9346 | 15.1289 | 0.395 |  | 9.4329 | 14.1757 | 0.28 |  | 9.31 | 14.7257 | 0.72 |  | 9.38 | 14.0842 | 0.395 |  | 10.0438 | 10.87 | 0.25 |  | 10.2792 | 10.5967 | 0.245 |  | 9.83 | 12.8657 | 0.295

## 8.12.2013-8.13.2013
| Station 1R |  |  |  | Station 2R |  |  |  | Station 3R |  |  |  | Lake Michigan Station 1 |  |  |  | Lake Michigan Station 2 |  |  |  | Lake Michigan Station 3 |  |  |  | Lake Michigan Station 4 |  |  |  | Lake Michigan Station 5 |  |  |  | Lake Michigan Station 6
| Date: 8/13/13 Time: 0900 |  |  |  | Date: 8/13/13 Time: 1000 |  |  |  | Date: 8/13/13 Time: 1030 |  |  |  | Date: 8/12/13 Time: 1600 |  |  |  | Date: 8/12/13 Time: 1530 |  |  |  | Date: 8/12/13 Time: 1445 |  |  |  | Date: 8/12/13 Time: 1330 |  |  |  | Date: 8/12/13 Time: 1215 |  |  |  | Date: 8/12/13 Time: 1300
| Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU)
| 0 | 9.05 | 17.78 | ---- | 0 | 9.08 | 17.78 | ---- | 0 | 9.05 | 17.62 | ---- | 0 | 8.42 | 20.18 | ---- | 0 | 8.25 | 19.65 | ---- | 0 | 8.6 | 18.69 | ---- | 0 | 8.23 | 20.37 | ---- | 0 | 8.25 | 20.05 | ---- | 0 | 8.31 | 19.86 | ----
| 1 | 9.14 | 17.78 | 0.34 | 1 | 9.1 | 17.78 | 0.27 | 1 | 9.07 | 17.63 | 0.21 | 1 | 8.41 | 20.18 | 0.1 | 1 | 8.33 | 19.62 | 0.13 | 1 | 8.6 | 18.96 | 0.24 | 1 | 8.26 | 20.34 | 0.17 | 1 | 8.26 | 19.85 | 0.08 | 1 | 8.32 | 19.84 | 0.13
| 2 | 9.1 | 17.81 | ---- | 2 | 9.07 | 17.77 | ---- | 2 | 9.06 | 17.63 | ---- | 2 | 8.39 | 19.95 | ---- | 2 | 8.4 | 19.58 | ---- | 2 | 8.6 | 18.46 | ---- | 2 | 8.28 | 19.65 | ---- | 2 | 8.25 | 19.51 | ---- | 2 | 8.33 | 19.39 | ----
| 3 | 9.06 | 17.8 | ---- | 3 | 9.07 | 17.77 | ---- | 3 | 9.05 | 17.61 | ---- | 3 | 8.4 | 19.65 | ---- | 3 | 8.33 | 19.35 | ---- | 3 | 8.65 | 18.36 | ---- | 3 | 8.29 | 19.6 | ---- | 3 | 8.33 | 19.46 | ---- | 3 | 8.37 | 19.31 | ----
| 4 | 9.07 | 17.79 | ---- | 4 | 9.04 | 17.75 | ---- | 4 | 9 | 17.64 | ---- | 4 | 8.67 | 18.41 | ---- | 4 | 8.4 | 18.85 | ---- | 4 | 8.65 | 18.14 | ---- | 4 | 8.29 | 19.53 | ---- | 4 | 8.35 | 19.41 | ---- | 4 | 8.44 | 19.28 | ----
| 5 | 8.93 | 17.8 | ---- | 5 | 8.99 | 17.75 | ---- | 5 | 8.98 | 17.49 | ---- | 5 | 8.69 | 18.05 | ---- | 5 | 8.47 | 18.59 | 0.27 | 5 | 8.54 | 18.03 | ---- | 5 | 8.29 | 19.47 | ---- | 5 | 8.3 | 19.32 | ---- | 5 | 8.46 | 19.24 | 0.25
| 6 | 8.99 | 17.79 | ---- | 6 | 9.02 | 17.73 | ---- | 6 | 9 | 17.34 | ---- | 6 | 8.85 | 17.32 | ---- | 5.5 | 9.25 | 17.64 | ---- | 6 | 8.68 | 17.36 | ---- | 6 | 8.31 | 19.37 | ---- | 6 | 8.33 | 19.2 | ---- | 6 | 8.53 | 19.24 | ----
| 7 | 9.05 | 17.79 | ---- | 7 | 9.02 | 17.71 | ---- | 7 | 9.01 | 17.38 | ---- | 7 | 8.9 | 16.98 | ---- |  |  |  |  | 7 | 8.73 | 17.05 | ---- | 7 | 8.43 | 19.04 | ---- | 7 | 8.38 | 19.08 | ----
| 8 | 9.07 | 17.78 | ---- | 8 | 9.03 | 17.69 | ---- | 8 | 9.04 | 17.36 | ---- | 8 | 9.06 | 16.42 | ---- |  |  |  |  | 8 | 8.77 | 16.85 | ---- | 8 | 8.56 | 18.52 | ---- | 8 | 8.67 | 18.65 | ----
| 9 | 9.01 | 17.77 | ---- | 9 | 9.02 | 17.68 | ---- | 9 | 9.02 | 17.31 | ---- | 9 | 9.28 | 15.13 | ---- |  |  |  |  | 9 | 8.95 | 16.55 | ---- | 9 | 8.75 | 18.02 | ---- | 9 | 9.08 | 18.1 | ----
| 10 | 9.02 | 17.78 | ---- | 10 | 9 | 17.65 | ---- | 10 | 9 | 17.14 | ---- | 10 | 9.59 | 14.27 | ---- |  |  |  |  | 10 | 9.55 | 14.02 | 0.36 | 10 | 8.96 | 17.64 | ---- | 10 | 9.12 | 16.95 | 0.23
| 11 | 9.01 | 17.75 | ---- | 11 | 9.01 | 17.65 | ---- | 11 | 9.04 | 17.09 | ---- | 11 | 9.76 | 13.41 | ---- |  |  |  |  | 11 | 9.8 | 13.67 | ---- | 11 | 9.13 | 17.19 | ---- | 11 | 9.23 | 15.6 | ----
| 12 | 9.01 | 17.73 | ---- | 12 | 8.96 | 17.61 | ---- | 12 | 8.99 | 17.14 | ---- | 12 | 9.8 | 12.5 | 0.34 | [8 empty] | 12 | 9.29 | 16.56 | ----
| 13 | 9.03 | 17.72 | ---- | 13 | 8.99 | 17.62 | ---- | 13 | 9.07 | 17.1 | ---- | 13 | 9.66 | 11.5 | ---- | [8 empty] | 13 | 9.46 | 15.07 | ----
| 14 | 8.99 | 17.72 | ---- | 14 | 8.95 | 17.61 | ---- | 14 | 9.08 | 17.03 | ---- | [12 empty] | 14 | 9.58 | 13.72 | ----
| 15 | 8.91 | 17.71 | ---- | 15 | 8.92 | 17.52 | ---- | 15 | 9.05 | 17.15 | ---- | [12 empty] | 15 | 9.48 | 11.82 | ----
| 16 | 8.93 | 17.7 | ---- | 16 | 8.95 | 17.59 | ---- | 16 | 9.04 | 16.99 | ---- | [12 empty] | 16 | 9.46 | 10.42 | ----
| 17 | 8.98 | 17.66 | ---- | 17 | 8.94 | 17.48 | ---- | 17 | 9.06 | 17 | ---- | [12 empty] | 17 | 9.43 | 10.13 | ----
| 18 | 8.96 | 17.65 | ---- | 18 | 8.98 | 17.45 | ---- | 18 | 9.05 | 16.98 | ---- | [12 empty] | 18 | 9.51 | 9.84 | 0.24
| 19 | 8.98 | 17.62 | ---- | 19 | 9 | 17.35 | ---- | 19 | 9.01 | 16.97 | ---- | [12 empty] | 19 | 9.49 | 9.83 | ----
| 20 | 8.98 | 17.57 | ---- | 20 | 8.94 | 17.34 | ---- | 20 | 9.02 | 16.96 | ----
| 21 | 9.03 | 17.54 | ---- | 21 | 9.06 | 16.94 | ---- | 21 | 8.97 | 16.97 | ----
| 22 | 8.93 | 17.51 | ---- | 22 | 9.09 | 16.91 | ---- | 22 | 8.96 | 16.97 | ----
| 23 | 8.96 | 17.48 | ---- | 23 | 9.09 | 16.92 | ---- | 23 | 8.96 | 17 | ----
| 24 | 8.97 | 17.48 | ---- | 24 | 9.08 | 16.91 | ---- | 24 | 8.98 | 16.98 | ----
| 25 | 8.98 | 17.39 | ---- | 25 | 9.04 | 16.91 | 0.26 | 25 | 8.97 | 16.97 | ----
| 26 | 8.97 | 17.37 | 0.26 | 26 | 9.07 | 16.89 | ---- | 26 | 8.95 | 16.97 | ----
| 27 | 8.97 | 17.36 | ---- |  |  |  |  | 27 | 8.99 | 16.97 | ----
[9 empty] | 28 | 8.94 | 16.95 | ----
[9 empty] | 29 | 8.96 | 16.94 | ----
[9 empty] | 30 | 9.03 | 16.93 | ----
[9 empty] | 31 | 9 | 16.93 | 0.18
[9 empty] | 32 | 8.97 | 16.92 | ----
Average |  | 9.0029 | 17.6654 | 0.3 |  | 9.0189 | 17.4726 | 0.265 |  | 9.0112 | 17.1533 | 0.195 |  | 8.9914 | 16.7107 | 0.22 |  | 8.49 | 19.04 | 0.2 |  | 8.8433 | 17.1783 | 0.3 |  | 8.874 | 16.3065 | 0.205 |  | 8.5458 | 18.765 | 0.155 |  | 8.3943 | 19.4514 | 0.19

## 8.29.2013
| Station 1R |  |  |  | Station 2R |  |  |  | Station 3R |  |  |  | Lake Michigan Station 1 |  |  |  | Lake Michigan Station 2 |  |  |  | Lake Michigan Station 3 |  |  |  | Lake Michigan Station 4 |  |  |  | Lake Michigan Station 5 |  |  |  | Lake Michigan Station 6
| Date: 8/29/13 Time: 1608 |  |  |  | Date: 8/29/13 Time: 1638 |  |  |  | Date: 8/29/13 Time: 1700 |  |  |  | Date: 8/29/13 Time: 1352 |  |  |  | Date: 8/29/13 Time: 1335 |  |  |  | Date: 8/29/13 Time: 1311 |  |  |  | Date: 8/29/13 Time: 1219 |  |  |  | Date: 8/29/13 Time: 1130 |  |  |  | Date: 8/29/13 Time: 1158
| Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU)
| 0 | 8.79 | 21.44 | ---- | 0 | 8.94 | 21.58 | ---- | 0 | 8.95 | 21.62 | ---- | 0 | 9.13 | 21.72 | ---- | 0 | 9.19 | 22.8 | ---- | 0 | 9.01 | 22.72 | ---- | 0 | 8.95 | 21.87 | ---- | 0 | 8.96 | 22.16 | ---- | 0 | 8.92 | 22.14 | ----
| 1 | 8.79 | 21.43 | 0.3 | 1 | 8.81 | 21.58 | 0.3 | 1 | 8.81 | 21.52 | 0.24 | 1 | 9.03 | 21.67 | 0.23 | 1 | 8.91 | 22.49 | 0.24 | 1 | 8.96 | 22.03 | 0.27 | 1 | 8.84 | 21.76 | 0.36 | 1 | 8.75 | 21.4 | 0.25 | 1 | 8.64 | 22.21 | 0.37
| 2 | 8.81 | 21.37 | ---- | 2 | 8.8 | 21.55 | ---- | 2 | 8.67 | 21.29 | ---- | 2 | 8.83 | 21.62 | ---- | 2 | 8.83 | 21.28 | ---- | 2 | 8.81 | 21.37 | ---- | 2 | 8.66 | 21.35 | ---- | 2 | 8.89 | 21.25 | ---- | 2 | 8.84 | 21.31 | ----
| 3 | 8.43 | 21.28 | ---- | 3 | 8.75 | 21.47 | ---- | 3 | 8.68 | 21.3 | ---- | 3 | 8.79 | 21.33 | ---- | 3 | 8.85 | 21.21 | ---- | 3 | 8.75 | 21.23 | ---- | 3 | 8.79 | 21.25 | ---- | 3 | 8.66 | 21.22 | ---- | 3 | 8.83 | 21.25 | ----
| 4 | 8.52 | 21.14 | ---- | 4 | 8.78 | 21.24 | ---- | 4 | 8.69 | 21.13 | ---- | 4 | 8.83 | 21.16 | ---- | 4 | 8.89 | 21.19 | ---- | 4 | 8.86 | 21.17 | ---- | 4 | 8.81 | 21.22 | ---- | 4 | 8.56 | 21.2 | ---- | 4 | 8.73 | 21.23 | ----
| 5 | 8.63 | 21.11 | ---- | 5 | 8.83 | 21.16 | ---- | 5 | 8.69 | 21.1 | ---- | 5 | 8.76 | 21.11 | ---- | 5 | 8.82 | 21.19 | 0.2 | 5 | 8.73 | 21.14 | ---- | 5 | 8.65 | 21.21 | ---- | 5 | 8.61 | 21.18 | ---- | 5 | 8.67 | 21.21 | ----
| 6 | 8.4 | 21.11 | ---- | 6 | 8.75 | 21.15 | ---- | 6 | 8.7 | 21.11 | ---- | 6 | 8.87 | 21.1 | ---- | 6 | 8.57 | 21.2 | ---- | 6 | 8.75 | 21.12 | ---- | 6 | 8.68 | 21.2 | ---- | 6 | 8.56 | 21.17 | ---- | 6 | 8.72 | 21.14 | 0.34
| 7 | 8.47 | 21.07 | ---- | 7 | 8.77 | 21.1 | ---- | 7 | 8.7 | 21.11 | ---- | 7 | 8.82 | 21.1 | ---- |  |  |  |  | 7 | 8.53 | 21.08 | ---- | 7 | 8.66 | 21.19 | ---- | 7 | 8.57 | 21.15 | ---- | 6.6 | 9.01 | 21.05 | ----
| 8 | 8.64 | 21.05 | ---- | 8 | 8.8 | 21.08 | ---- | 8 | 8.65 | 21.09 | ---- | 8 | 8.86 | 21.06 | ---- |  |  |  |  | 8 | 8.7 | 21 | ---- | 8 | 8.76 | 21.18 | ---- | 8 | 8.64 | 21.14 | ----
| 9 | 8.51 | 21.03 | ---- | 9 | 8.79 | 21.04 | ---- | 9 | 8.66 | 21.09 | ---- | 9 | 8.75 | 20.87 | ---- |  |  |  |  | 9 | 8.73 | 20.94 | ---- | 9 | 8.7 | 21.16 | ---- | 9 | 8.74 | 21.07 | ----
| 10 | 8.42 | 21.02 | ---- | 10 | 8.64 | 21.02 | ---- | 10 | 8.59 | 21.08 | ---- | 10 | 8.87 | 20.61 | ---- |  |  |  |  | 10 | 8.66 | 20.76 | ---- | 10 | 8.65 | 21.13 | ---- | 10 | 8.78 | 20.75 | ----
| 11 | 8.33 | 21.02 | ---- | 11 | 8.69 | 21.01 | ---- | 11 | 8.66 | 21.07 | ---- | 11 | 9.13 | 20.16 | ---- |  |  |  |  | 11 | 8.89 | 20.4 | 0.29 | 11 | 8.9 | 20.65 | ---- | 11 | 8.51 | 20.34 | 0.32
| 12 | 8.47 | 21.02 | ---- | 12 | 8.67 | 20.99 | ---- | 12 | 8.68 | 21.07 | ---- | 12 | 9.69 | 18.17 | ---- |  |  |  |  | 11.1 | 9.21 | 20.39 | ---- | 12 | 9.23 | 18.85 | ---- | 11.6 | 8.31 | 20.26 | ----
| 13 | 8.48 | 21.02 | ---- | 13 | 8.5 | 20.98 | ---- | 13 | 8.58 | 21.07 | ---- | 13 | 10.17 | 15.98 | 0.43 | [8 empty] | 13 | 9.7 | 17.78 | ----
| 14 | 8.37 | 21.01 | ---- | 14 | 8.56 | 20.98 | ---- | 14 | 8.58 | 21.09 | ---- | 13.7 | 10.3 | 15.19 | ---- | [8 empty] | 14 | 10.24 | 16.25 | ----
| 15 | 8.43 | 21 | ---- | 15 | 8.49 | 20.97 | ---- | 15 | 8.56 | 21.08 | ---- | [12 empty] | 15 | 10.98 | 14.91 | ----
| 16 | 8.48 | 21 | ---- | 16 | 8.54 | 20.97 | ---- | 16 | 8.55 | 21.08 | ---- | [12 empty] | 16 | 10.96 | 13.99 | ----
| 17 | 8.41 | 20.99 | ---- | 17 | 8.49 | 20.97 | ---- | 17 | 8.48 | 21.08 | ---- | [12 empty] | 17 | 11.12 | 13.71 | ----
| 18 | 8.44 | 20.98 | ---- | 18 | 8.45 | 20.96 | ---- | 18 | 8.57 | 21.08 | ---- | [12 empty] | 18 | 10.9 | 13.54 | 0.38
| 19 | 8.54 | 20.98 | ---- | 19 | 8.48 | 20.96 | 0.38 | 19 | 8.49 | 21.08 | ---- | [12 empty] | 18.5 | 10.87 | 13.53 | ----
| 20 | 8.61 | 20.97 | 0.79 | 19.1 | 8.43 | 20.96 | ---- | 20 | 8.54 | 21.07 | ----
| 20.8 | 8.5 | 20.97 | ---- |  |  |  |  | 21 | 8.5 | 21.07 | ----
[9 empty] | 22 | 8.4 | 21.07 | 0.23
[9 empty] | 22.9 | 8.24 | 21.04 | ----
Average |  | 8.5214 | 21.0914 | 0.545 |  | 8.6648 | 21.1295 | 0.34 |  | 8.6092 | 21.1412 | 0.235 |  | 9.122 | 20.19 | 0.33 |  | 8.8657 | 21.6229 | 0.22 |  | 8.8146 | 21.1808 | 0.28 |  | 9.4525 | 18.8865 | 0.37 |  | 8.6569 | 21.0992 | 0.285 |  | 8.795 | 21.4425 | 0.355

## 9.11.2013
| Station 1R |  |  |  | Station 2R |  |  |  | Station 3R |  |  |  | Lake Michigan Station 1 |  |  |  | Lake Michigan Station 2 |  |  |  | Lake Michigan Station 3 |  |  |  | Lake Michigan Station 4 |  |  |  | Lake Michigan Station 5 |  |  |  | Lake Michigan Station 6
| Date: 9/11/13 Time: 1502 |  |  |  | Date: 9/11/13 Time: 1550 |  |  |  | Date: 9/11/13 Time: 1645 |  |  |  | Date: 9/11/13 Time: 0950 |  |  |  | Date: 9/11/13 Time: 1030 |  |  |  | Date: 9/11/13 Time: 1050 |  |  |  | Date: 9/11/13 Time: 1200 |  |  |  | Date: 9/11/13 Time: 1225 |  |  |  | Date: 9/11/13 Time: 1245
| Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU)
| 0 | 9.27 | 17.11 | ---- | 0 | 9.04 | 17.38 | ---- | 0 | 9.32 | 17.07 | ---- | 0 | 8.93 | 18.57 | ---- | 0 | 8.91 | 18.2 | ---- | 0 | 8.87 | 18.29 | ---- | 0 | 9.02 | 18.59 | ---- | 0 | 8.88 | 18.76 | ---- | 0 | 8.88 | 18.59 | ----
| 1 | 9.24 | 17.07 | 0.32 | 1 | 8.97 | 17.37 | 0.19 | 1 | 9.15 | 17.05 | 0.32 | 1 | 8.89 | 18.57 | 0.18 | 1 | 8.89 | 18.23 | 0.39 | 1 | 8.91 | 18.29 | 0.12 | 1 | 9.02 | 18.59 | 0.19 | 1 | 8.87 | 18.75 | 0.13 | 1 | 8.89 | 18.45 | 0.24
| 2 | 9.06 | 17.06 | ---- | 2 | 8.89 | 17.35 | ---- | 2 | 9.1 | 17.05 | ---- | 2 | 8.71 | 18.57 | ---- | 2 | 8.83 | 18.21 | ---- | 2 | 8.9 | 18.29 | ---- | 2 | 8.98 | 18.53 | ---- | 2 | 8.86 | 18.61 | ---- | 2 | 8.9 | 18.29 | ----
| 3 | 8.98 | 16.82 | ---- | 3 | 8.96 | 17.26 | ---- | 3 | 9.04 | 17.05 | ---- | 3 | 8.84 | 18.3 | ---- | 3 | 8.87 | 18.18 | ---- | 3 | 8.88 | 18.3 | ---- | 3 | 8.95 | 18.48 | ---- | 3 | 8.85 | 18.5 | ---- | 3 | 8.82 | 18.08 | ----
| 4 | 9.26 | 16.4 | ---- | 4 | 8.93 | 17.21 | ---- | 4 | 9.04 | 17.04 | ---- | 4 | 9.03 | 18.11 | ---- | 4 | 8.79 | 18.1 | ---- | 4 | 8.87 | 18.27 | ---- | 4 | 8.95 | 18.42 | ---- | 4 | 8.85 | 18.39 | ---- | 4 | 8.89 | 18.07 | ----
| 5 | 9.18 | 16.32 | ---- | 5 | 8.99 | 16.97 | ---- | 5 | 8.97 | 17.04 | ---- | 5 | 9.04 | 18 | ---- | 5 | 8.73 | 18.04 | 0.29 | 5 | 8.87 | 18.26 | ---- | 5 | 9.01 | 18.21 | ---- | 5 | 8.82 | 18.12 | ---- | 5 | 8.99 | 17.78 | 0.28
| 6 | 9.29 | 16.26 | ---- | 6 | 8.97 | 16.58 | ---- | 6 | 8.93 | 17.04 | ---- | 6 | 9.02 | 17.97 | ---- | 6 | 8.88 | 18 | ---- | 6 | 8.85 | 18.24 | ---- | 6 | 9.02 | 18.12 | ---- | 6 | 8.87 | 17.97 | ---- | 6 | 9.03 | 17.58 | ----
| 7 | 9.3 | 16.19 | ---- | 7 | 9.02 | 16.45 | ---- | 7 | 8.9 | 17.04 | ---- | 7 | 9.03 | 17.86 | ---- |  |  |  |  | 7 | 8.88 | 18.23 | ---- | 7 | 9.03 | 18.06 | ---- | 7 | 8.86 | 17.82 | ----
| 8 | 9.16 | 16.09 | ---- | 8 | 9.38 | 16.17 | ---- | 8 | 8.9 | 17.03 | ---- | 8 | 9.01 | 17.83 | ---- |  |  |  |  | 8 | 8.86 | 18.19 | ---- | 8 | 9.02 | 18.03 | ---- | 8 | 8.94 | 17.72 | ----
| 9 | 9.24 | 16.08 | ---- | 9 | 9.46 | 16.03 | 0.21 | 9 | 9.02 | 16.85 | ---- | 9 | 8.98 | 17.82 | ---- |  |  |  |  | 9 | 8.83 | 18.16 | ---- | 9 | 9.04 | 18.02 | ---- | 9 | 9.01 | 17.56 | ----
| 10 | 9.21 | 16.02 | 0.32 | 10 | 9.82 | 15.98 | ---- | 10 | 8.97 | 16.65 | ---- | 10 | 9.03 | 17.81 | ---- |  |  |  |  | 10 | 8.83 | 18.08 | ---- | 10 | 9.07 | 18 | ---- | 10 | 9.06 | 17.45 | 0.28
| 11 | 9.29 | 15.87 | ---- |  |  |  |  | 11 | 9 | 16.5 | ---- | 11 | 9.02 | 17.82 | ---- |  |  |  |  | 11 | 8.85 | 18.03 | 0.23 | 11 | 9.1 | 17.93 | ---- | 11 | 9.05 | 17.42 | ----
[9 empty] | 12 | 9.04 | 16.34 | ---- | 12 | 9.01 | 17.82 | ---- |  |  |  |  | 12 | 8.86 | 18.03 | ---- | 12 | 9.04 | 17.93 | ----
[9 empty] | 13 | 9.02 | 16.23 | 0.21 | 13 | 9.03 | 17.82 | ---- | [8 empty] | 13 | 9.04 | 17.91 | ----
[9 empty] | 14 | 9.17 | 16.15 | ---- | 14 | 9.03 | 17.81 | 0.17 | [8 empty] | 14 | 9.05 | 17.9 | ----
[13 empty] | 15 | 9.07 | 17.81 | ---- | [8 empty] | 15 | 9.09 | 17.79 | ----
[25 empty] | 16 | 9.1 | 17.44 | ----
[25 empty] | 17 | 9.14 | 17.29 | ----
[25 empty] | 18 | 9.11 | 17.19 | 0.1
[25 empty] | 19 | 9.07 | 17.14 | ----
Average |  | 9.2067 | 16.4408 | 0.32 |  | 9.13 | 16.7955 | 0.2 |  | 9.038 | 16.8087 | 0.265 |  | 8.9794 | 18.0306 | 0.175 |  | 8.8429 | 18.1371 | 0.34 |  | 8.8662 | 18.2046 | 0.175 |  | 9.0425 | 17.9785 | 0.145 |  | 8.91 | 18.0892 | 0.205 |  | 8.9143 | 18.12 | 0.26

## 9.25.2013
| Station 1R |  |  |  | Station 2R |  |  |  | Station 3R |  |  |  | Lake Michigan Station 1 |  |  |  | Lake Michigan Station 2 |  |  |  | Lake Michigan Station 3 |  |  |  | Lake Michigan Station 4 |  |  |  | Lake Michigan Station 5 |  |  |  | Lake Michigan Station 6
| Date: 9/25/13 Time: 1545 |  |  |  | Date: 9/25/13 Time: 1605 |  |  |  | Date: 9/25/13 Time: 1630 |  |  |  | Date: 9/25/13 Time: 1335 |  |  |  | Date: 9/25/13 Time: 1314 |  |  |  | Date: 9/25/13 Time: NM |  |  |  | Date: 9/25/13 Time: 1217 |  |  |  | Date: 9/25/13 Time: 1106 |  |  |  | Date: 9/25/13 Time: 1159
| Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU)
| 0 | 9.44 | 15.33 | ---- | 0 | 9.24 | 15.17 | ---- | 0 | 9.2 | 15.1 | ---- | 0 | 9.2 | 16.12 | ---- | 0 | 9.48 | 14.83 | ---- | 0 | 9.4 | 15.94 | ---- | 0 | 9.42 | 17.09 | ---- | 0 | 9.24 | 15.75 | ---- | 0 | 9.28 | 15.52 | ----
| 1 | 9.29 | 15.34 | 0.13 | 1 | 9.28 | 15.16 | 0.24 | 1 | 9.24 | 15.09 | 0.25 | 1 | 9.27 | 16.15 | 0.28 | 1 | 9.55 | 14.68 | 0.2 | 1 | 9.34 | 15.86 | 0.15 | 1 | 9.25 | 16.65 | 0.14 | 1 | 9.24 | 15.76 | 0.21 | 1 | 9.18 | 15.51 | 0.19
| 2 | 9.23 | 15.2 | ---- | 2 | 9.18 | 15.1 | ---- | 2 | 9.18 | 15.09 | ---- | 2 | 9.15 | 15.93 | ---- | 2 | 9.44 | 14.4 | ---- | 2 | 9.4 | 15.17 | ---- | 2 | 9.19 | 16.53 | ---- | 2 | 9.12 | 15.63 | ---- | 2 | 9.23 | 15.47 | ----
| 3 | 9.2 | 14.82 | ---- | 3 | 9.22 | 15.09 | ---- | 3 | 9.05 | 15.05 | ---- | 3 | 9.24 | 15.56 | ---- | 3 | 9.49 | 13.95 | ---- | 3 | 9.46 | 14.84 | ---- | 3 | 9.07 | 16.48 | ---- | 3 | 9.05 | 15.62 | ---- | 3 | 9.27 | 15.33 | ----
| 4 | 9.32 | 14.77 | ---- | 4 | 9.23 | 14.92 | ---- | 4 | 9.21 | 14.76 | ---- | 4 | 9.17 | 15.2 | ---- | 4 | 9.52 | 13.85 | ---- | 4 | 9.46 | 14.6 | ---- | 4 | 9.12 | 16.44 | ---- | 4 | 9.07 | 15.54 | ---- | 4 | 9.28 | 15.19 | ----
| 5 | 9.2 | 14.75 | ---- | 5 | 9.22 | 14.72 | ---- | 5 | 9.18 | 14.73 | ---- | 5 | 9.26 | 15 | ---- | 5 | 9.64 | 13.64 | 0.34 | 5 | 9.5 | 14.41 | ---- | 5 | 9.12 | 16.4 | ---- | 5 | 8.87 | 15.55 | ---- | 5 | 9.21 | 15.03 | 0.28
| 6 | 9.19 | 14.72 | ---- | 6 | 9.2 | 14.71 | ---- | 6 | 9.12 | 14.74 | ---- | 6 | 9.28 | 14.73 | ---- | 6 | 9.79 | 13.65 | ---- | 6 | 9.48 | 14.37 | ---- | 6 | 9.02 | 16.38 | ---- | 6 | 8.89 | 15.5 | ---- | 6 | 9.39 | 15.02 | ----
| 7 | 9.24 | 14.7 | ---- | 7 | 9.17 | 14.69 | ---- | 7 | 9.05 | 14.72 | ---- | 7 | 9.41 | 14.69 | ---- |  |  |  |  | 7 | 9.46 | 14.24 | ---- | 7 | 9.04 | 16.35 | ---- | 7 | 9.13 | 15.43 | ----
| 8 | 9.17 | 14.68 | ---- | 8 | 9.24 | 14.68 | ---- | 8 | 9.1 | 14.72 | ---- | 8 | 9.27 | 14.69 | ---- |  |  |  |  | 8 | 9.47 | 14.07 | ---- | 8 | 8.99 | 16.32 | ---- | 8 | 9.11 | 15.35 | ----
| 9 | 9.13 | 14.68 | ---- | 9 | 9.11 | 14.67 | ---- | 9 | 9.09 | 14.71 | ---- | 9 | 9.32 | 14.69 | ---- |  |  |  |  | 9 | 9.49 | 13.76 | ---- | 9 | 9 | 16.29 | ---- | 9 | 9.1 | 15.34 | ----
| 10 | 9.15 | 14.68 | ---- | 10 | 9.11 | 14.67 | ---- | 10 | 9.08 | 14.7 | ---- | 10 | 9.3 | 14.62 | ---- |  |  |  |  | 10 | 9.69 | 13.5 | 0.2 | 10 | 8.92 | 16.26 | ---- | 10 | 9.28 | 15.33 | 0.23
| 11 | 9.16 | 14.67 | ---- | 11 | 9.05 | 14.66 | ---- | 11 | 9.07 | 14.68 | ---- | 11 | 9.34 | 14.36 | ---- |  |  |  |  | 11 | 10.03 | 12.89 | ---- | 11 | 9 | 15.94 | ---- | 11 | 9.77 | 13.83 | ----
| 12 | 9.09 | 14.67 | ---- | 12 | 9.17 | 14.66 | ---- | 12 | 9.09 | 14.68 | ---- | 12 | 9.34 | 13.87 | 0.38 | [8 empty] | 12 | 9.17 | 15.15 | ----
| 13 | 9.13 | 14.67 | ---- | 13 | 9.16 | 14.66 | ---- | 13 | 9.11 | 14.68 | ---- | 13 | 10.01 | 12.65 | ---- | [8 empty] | 13 | 9.23 | 14.89 | ----
| 14 | 9.16 | 14.67 | ---- | 14 | 9.15 | 14.66 | ---- | 14 | 9.12 | 14.68 | ---- | [12 empty] | 14 | 9.33 | 14.45 | ----
| 15 | 9.13 | 14.67 | ---- | 15 | 9.1 | 14.66 | 0.18 | 15 | 9.07 | 14.68 | ---- | [12 empty] | 15 | 9.53 | 13.96 | ----
| 16 | 9.1 | 14.68 | 0.16 | 16 | 9.18 | 14.66 | ---- | 16 | 9.09 | 14.67 | ---- | [12 empty] | 16 | 9.78 | 11.71 | ----
| 17 | 9.18 | 14.67 | ---- |  |  |  |  | 17 | 9.07 | 14.67 | ---- | [12 empty] | 17 | 10.26 | 9.74 | ----
[9 empty] | 18 | 9.04 | 14.67 | ---- | [12 empty] | 18 | 10.25 | 9.47 | 0.09
[9 empty] | 19 | 9.09 | 14.65 | ---- | [12 empty] | 19 | 10.28 | 9.34 | ----
[9 empty] | 20 | 9.12 | 14.65 | 0.21
[9 empty] | 21 | 9.04 | 14.65 | ----
Average |  | 9.195 | 14.7983 | 0.145 |  | 9.1771 | 14.7965 | 0.21 |  | 9.1095 | 14.7623 | 0.23 |  | 9.3257 | 14.8757 | 0.33 |  | 9.5586 | 14.1429 | 0.27 |  | 9.515 | 14.4708 | 0.175 |  | 9.3485 | 14.792 | 0.115 |  | 9.1558 | 15.3858 | 0.22 |  | 9.2629 | 15.2957 | 0.235

## 10.11.2013
| Station 1R |  |  |  | Station 2R |  |  |  | Station 3R |  |  |  | Lake Michigan Station 1 |  |  |  | Lake Michigan Station 2 |  |  |  | Lake Michigan Station 3 |  |  |  | Lake Michigan Station 4 |  |  |  | Lake Michigan Station 5 |  |  |  | Lake Michigan Station 6
| Date: 10/11/13 Time: 1511 |  |  |  | Date: 10/11/13 Time: 1532 |  |  |  | Date: 10/11/13 Time: 1551 |  |  |  | Date: 10/11/13 Time: 1255 |  |  |  | Date: 10/11/13 Time: 1239 |  |  |  | Date: 10/11/13 Time: 1221 |  |  |  | Date: 10/11/13 Time: 1146 |  |  |  | Date: 10/11/13 Time: 1125 |  |  |  | Date: 10/11/13 Time: 1105
| Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU) | Depth (m) | DO (mg/L) | Temp (°C) | Turbidity (NTU)
| 0 | 9.19 | 16.64 | ---- | 0 | 8.83 | 16.68 | ---- | 0 | 8.67 | 16.72 | ---- | 0 | 9.15 | 16.67 | ---- | 0 | 9.21 | 16.32 | ---- | 0 | 9.32 | 16.44 | ---- | 0 | 9.27 | 16.68 | ---- | 0 | 9.11 | 16.35 | ---- | 0 | 9.25 | 16.41 | ----
| 1 | 9.02 | 16.59 | 0.27 | 1 | 8.79 | 16.59 | 0.27 | 1 | 8.72 | 16.7 | 0.2 | 1 | 9.1 | 16.65 | 0.23 | 1 | 9.09 | 16.32 | 0.29 | 1 | 9.19 | 16.45 | 0.26 | 1 | 9.26 | 16.68 | 0.22 | 1 | 8.95 | 16.36 | 0.27 | 1 | 9.03 | 16.41 | 0.34
| 2 | 8.94 | 16.55 | ---- | 2 | 8.71 | 16.5 | ---- | 2 | 8.69 | 16.63 | ---- | 2 | 9.09 | 16.64 | ---- | 2 | 9.03 | 16.33 | ---- | 2 | 9.12 | 16.43 | ---- | 2 | 9.13 | 16.68 | ---- | 2 | 8.92 | 16.36 | ---- | 2 | 9.02 | 16.41 | ----
| 3 | 8.83 | 16.53 | ---- | 3 | 8.65 | 16.47 | ---- | 3 | 8.66 | 16.53 | ---- | 3 | 9.05 | 16.63 | ---- | 3 | 9.02 | 16.32 | ---- | 3 | 8.99 | 16.43 | ---- | 3 | 9.11 | 16.68 | ---- | 3 | 8.9 | 16.36 | ---- | 3 | 8.99 | 16.42 | ----
| 4 | 8.81 | 16.51 | ---- | 4 | 8.62 | 16.44 | ---- | 4 | 8.65 | 16.49 | ---- | 4 | 8.97 | 16.62 | ---- | 4 | 8.98 | 16.27 | 0.24 | 4 | 9.01 | 16.4 | ---- | 4 | 9.02 | 16.68 | ---- | 4 | 8.9 | 16.34 | ---- | 4 | 8.98 | 16.41 | ----
| 5 | 8.82 | 16.48 | ---- | 5 | 8.64 | 16.44 | ---- | 5 | 8.61 | 16.48 | ---- | 5 | 9.01 | 16.6 | ---- | 5 | 9 | 16.26 | ---- | 5 | 9.02 | 16.39 | ---- | 5 | 9.03 | 16.68 | ---- | 5 | 8.88 | 16.32 | ---- | 5 | 8.94 | 16.41 | 0.3
| 6 | 8.71 | 16.42 | ---- | 6 | 8.66 | 16.43 | ---- | 6 | 8.61 | 16.45 | ---- | 6 | 8.99 | 16.59 | ---- |  |  |  |  | 6 | 8.95 | 16.37 | ---- | 6 | 8.98 | 16.67 | ---- | 6 | 8.88 | 16.31 | ---- | 6 | 8.93 | 16.41 | ----
| 7 | 8.75 | 16.4 | ---- | 7 | 8.66 | 16.42 | ---- | 7 | 8.6 | 16.43 | ---- | 7 | 8.98 | 16.56 | ---- |  |  |  |  | 7 | 8.98 | 16.37 | ---- | 7 | 8.98 | 16.67 | ---- | 7 | 8.82 | 16.31 | ----
| 8 | 8.74 | 16.38 | ---- | 8 | 8.64 | 16.41 | ---- | 8 | 8.64 | 16.42 | ---- | 8 | 8.98 | 16.56 | ---- |  |  |  |  | 8 | 8.96 | 16.34 | ---- | 8 | 9.01 | 16.66 | ---- | 8 | 8.86 | 16.3 | ----
| 9 | 8.69 | 16.37 | ---- | 9 | 8.61 | 16.38 | ---- | 9 | 8.57 | 16.42 | ---- | 9 | 8.98 | 16.56 | ---- |  |  |  |  | 9 | 8.93 | 16.33 | ---- | 9 | 8.97 | 16.66 | ---- | 9 | 8.85 | 16.31 | ----
| 10 | 8.68 | 16.36 | ---- | 10 | 8.61 | 16.38 | ---- | 10 | 8.57 | 16.42 | ---- | 10 | 9.01 | 16.56 | ---- |  |  |  |  | 10 | 8.88 | 16.32 | 0.23 | 10 | 8.93 | 16.66 | ---- | 10 | 8.83 | 16.3 | 0.28
| 11 | 8.65 | 16.35 | ---- | 11 | 8.56 | 16.38 | ---- | 11 | 8.6 | 16.41 | ---- | 11 | 9 | 16.55 | ---- |  |  |  |  | 11 | 8.92 | 16.32 | ---- | 11 | 8.91 | 16.66 | ---- | 11 | 8.82 | 16.3 | ----
| 12 | 8.58 | 16.35 | ---- | 12 | 8.53 | 16.37 | ---- | 12 | 8.55 | 16.41 | ---- | 12 | 8.99 | 16.55 | ---- | [8 empty] | 12 | 8.95 | 16.65 | ----
| 13 | 8.57 | 16.35 | ---- | 13 | 8.53 | 16.36 | ---- | 13 | 8.5 | 16.41 | ---- | 13 | 8.99 | 16.54 | 0.16 | [8 empty] | 13 | 8.92 | 16.65 | ----
| 14 | 8.61 | 16.35 | ---- | 14 | 8.53 | 16.36 | ---- | 14 | 8.57 | 16.41 | ---- | 14 | 8.99 | 16.52 | ---- | [8 empty] | 14 | 8.94 | 16.65 | ----
| 15 | 8.56 | 16.35 | ---- | 15 | 8.56 | 16.36 | ---- | 15 | 8.59 | 16.41 | ---- | [12 empty] | 15 | 8.94 | 16.64 | ----
| 16 | 8.55 | 16.34 | ---- | 16 | 8.55 | 16.36 | ---- | 16 | 8.58 | 16.41 | ---- | [12 empty] | 16 | 8.93 | 16.64 | ----
| 17 | 8.51 | 16.35 | ---- | 17 | 8.51 | 16.35 | 0.2 | 17 | 8.53 | 16.41 | ---- | [12 empty] | 17 | 8.91 | 16.63 | ----
| 18 | 8.59 | 16.34 | 0.91 | 18 | 8.51 | 16.35 | ---- | 18 | 8.55 | 16.41 | ---- | [12 empty] | 18 | 8.88 | 16.62 | 0.23
| 19 | 8.63 | 16.35 | ---- |  |  |  |  | 19 | 8.53 | 16.41 | ---- | [12 empty] | 19 | 8.79 | 16.62 | ----
[9 empty] | 20 | 8.51 | 16.41 | ----
[9 empty] | 21 | 8.52 | 16.41 | ----
[9 empty] | 22 | 8.5 | 16.41 | 0.23
[9 empty] | 23 | 8.49 | 16.41 | ----
Average |  | 8.7215 | 16.418 | 0.59 |  | 8.6158 | 16.4226 | 0.235 |  | 8.5838 | 16.4592 | 0.215 |  | 9.0187 | 16.5867 | 0.195 |  | 9.055 | 16.3033 | 0.265 |  | 9.0225 | 16.3825 | 0.245 |  | 8.993 | 16.658 | 0.225 |  | 8.8933 | 16.3267 | 0.275 |  | 9.02 | 16.4114 | 0.32